## Slide 1: Python 1-Hop, 1-cal, individual cal Main Pod Code
Caroline
4/6/2026

## Slide 2: What this code accomplishes so far:
Data preprocessing
  Crop data to deployment log start and end times
  Combine pod data files that may have different columns
  TempC2K, HumRel2Abs, Rmv999, RmvNaN, TimeSort, RmvWarmup, add_time_elapsed, and others
  Time averaging (mean or median, but must be the same between ref and pod)
  Fig 2600/2602 ratio
  Interaction terms
    Multiplies each sensor combo, so with CO, temp, humid sensors, you’ll add CO*temp, CO*humid, and temp*humid
For one hop, harmonization of sensors to colocation pod sensors
  Different than matlab one-hop, which calibrates pods to a concentration timeseries from the colocation pod
  Only uses linear regression
  Uses K-fold cross validation

## Slide 3: Illustrating the difference in 1-hop harmonization
Colocation step, the same in both Matlab and Python

## Slide 4: Colocation 2 (the “Hop”) in Matlab

## Slide 5: Harmonization in Python

## Slide 6: What this code accomplishes so far:
Calibration of colocation pod to reference
  Grid search (k-fold cross validation) to optimize hyperparameters of machine learning models
  Train/test split before hyperparameter tuning to reduce data “leaking”
  Scaling of data after train/test split to reduce data “leaking”
  Model options right now are:
    Linear regression (no CV for hyperparameters)
    Ridge and Lasso regression (linear regressions that reduce overfitting)
    Random Forest, Gradboost, Adaboost, SVR
    Relatively easy to add more!
  Peak weighting and data resampling to improve fits on peak values
test
train

## Slide 7: What this code accomplishes so far:
Field data harmonization & calibration in the 1-hop approach
  Applies the harmonization linear regression to each sensor in a pod
  Then applies the colocation calibration model to the harmonized pod data
Some plotting
  RMSE, R2, MBE stats across different colocation calibration models
  Time series of colocation pod corrected timeseries vs. reference
  Colocation pod vs. reference scatter plot
  Colocation pod residuals vs. sensor inputs
  harmonization stats, scatter, and timeseries
  Box plot of pod field data concentrations
  Time series of corrected field data

## Slide 8: Python set up

## Slide 9: Setting up python
I used Spyder (through anaconda) but am now trying PyCharm because it is easier for Github (although causing issues elsewhere)
For Spyder,
  download anaconda
  in anaconda, download spyder
  Open the anaconda terminal and type “spyder”
  Once spyder is open, navigate to Projects  New Project… and create a folder in a new directory where you will store all of the data folders and scripts. This will automatically create the .spyprojects folder inside of the folder you name
  I set up spyder a long time ago so I don’t remember what other settings need to be changed… we will have to work together on this

## Slide 10: Pycharm set up
For pycharm,
  Download anaconda
  Download pycharm
    Will need to get student license but can start out with free trial
  In pycharm, go to file  new project

## Slide 11: Pycharm set up
In the new project window, choose a name for the folder that will contain all your data and scripts
Path to conda should be set to wherever Anaconda is located

## Slide 12: Pycharm set up
Navigate to settings  console and make sure you have the settings checked like in the screenshot

## Slide 13: Pycharm set up
Navigate to edit configuration (see screenshot)
Then open the modify options menu and make sure it matches the screenshot

## Slide 14: Pycharm note
If you make changes to .py file in Python_Functions (preprocessing_func, plotting_func, etc.), you will need to close out of the console at the bottom of the pycharm window before you rerun the MPC codes (_colocation or _harmonization_field)
  Otherwise, the changes to the Python_Functions file will not be imported
Then, open a new python console using this bottom in the bottom left

## Slide 15: Cloning the python scripts through github
Download git https://www.git-scm.com/download/win
In powershell/command prompt, navigate (using cd) to folder you created in pycharm/spyder that has the projects files
  Example navigation: PS C:\Users\cfris\Documents> cd Newfolder
Clone git by typing “git clone” and then the url for the files
  Example: PS C:\Users\cfris\Documents\Newfolder> git clone https://github.com/cafr1977/MPC_python.git

## Slide 16: GITHUB LINK
https://github.com/cafr1977/MPC_python.git

## Slide 17: Cloning python scripts through github
Now, you should see these files automatically in the folder
You will need to add Colocation, Field, Harmonization, and Outputs folders (see following slides)
You will also need to update your deployment_log!!!

## Slide 18: Folder set up:
Colocation and Field folders are the exact same as matlab MPC
Outputs folder can be empty to start. It is where output folders will be saved to
If using Spyder, there will be a folder called .spyproject (automatically generated when you create a project)
If using pycharm, there will be a .idea folder (automatically generated when you create a project)

## Slide 19: Colocation Folder
Inside Colocation, there should be two folder: Pods and Reference
“Pods” will contain .txt files of raw pod data
  There should be one pod file for each “colocation” file listed in the deployment log!
    One file might be listed multiple times if it is for multiple pollutants though..
“Reference” will contain files of reference data
  Can be either .csv or .xlsx
  First column is “datetime”
  After that, you can have as many columns you want of reference data.

## Slide 20: Harmonization Folder (needed for 1-hop and universal cal)
Within Harmonization, there should be.txt files of the harmonization data
  One pod file per deployment log entry!
This should include both field and colocation pods’ harmonization data!
  In other words, the data for the secondary standard pod should also be in this folder

## Slide 21: Field folder
Within Field, there should be.txt files of the field data
  One pod file per deployment log entry!

## Slide 22: Deployment log
You MUST use a different deployment log for 1-cal/1-hop compared to individual calibration. This is because with individual, there should be a colocation file for each pod. In contrast, there should only be a colocation file for one pod when using 1-hop or 1-cal cal.
For individual, the deployment log should be named “deployment_log_individual.xlsx” or “deployment_log _individual.csv”
For 1-hop, the deployment log should be named “deployment_log_1hop1cal.xlsx” or “deployment_log _1hop1cal.csv”

## Slide 23
file_name: The full name of the data file (do not write .txt)
Deployment: C for colocation, H for harmonization, F for field
Location: Only important for field. Python will plot field data based on location.
Pollutant: If it is C (colocation), add the pollutant of interest. This is because some of us have multiple colocation sites and we need to differentiate
  If it is not C, you can leave it blank
timezone: specify what timezone this pod file is in
  Options are MST, MDT, PST, PDT, CST, CDT, EST, EDT, UTC, UTC+1 up to UTC+14 and UTC-1 to UTC-14.
    ST: standard time, DT: daylight savings time
Deployment log:

## Slide 24: Deployment log
Columns:
start: when did the deployment start?
  You do not need to account for warm-up here, as that will be removed in preprocessing
end: when did the deployment end?
header_type: specify what the headers/columns are for the specific file
  Now, you can have diff columns for the same pod, as long as you have separate data files for each firmware version

## Slide 25: Comparing the two deployment logs
deployment_log_1hop1cal
deployment_log_individual
Just one colocation pod (SSL6 or SSL2) per pollutant
Harmonization files listed for all field pods and colocation pods
Colocation file for each pod + pollutant.
No harmonization files

## Slide 26: A note on data file naming conventions
Pod names are identified by whatever comes before the underscore “_” in the file name
  So if a file name is C24_0123_2212, the pod name would be C24
  For PodID25_cadkfjladkjfl, the pod name would be PodID25
You can have anything you want after the underscore
Python will make a list of each of the individual pod names (C24, PodID25) and combine data files together based on what pod they come from
  So you can have multiple files, all listed in the deployment log, that will get combined as long as they have the same pod name

## Slide 27: A note about pod data files and firmware data writing
You can have one datetime column, or a date column and a time column that python will automatically combine
  Must be called datetime or date and time (if two columns) in the column_names variable
Right now, the rest of the columns must be numeric. If at some point, we have non-numeric data columns (not sure what this would be), we’ll need to adjust the data_load function
  I haven’t spent time on this yet because I do not foresee any non-numeric data needs

## Slide 28: Python_Functions folder
This folder contains other functions used in the main functions
You must have the _pycache_ folder and __init__ for this to run
You can add more functions with each grouping, or create a new file if you want a new category of functions

## Slide 29: Python_Functions functions
data_loading_func file
  load_deployment_log loads the deployment log
  load_data is used to load C, H, and F data, based on the deployment log entries. Load_data also corrects any time zone changes and crops the data based on start and end times in the deployment log (remove warmup happens later in preprocessing)
    In this newer version, this is now split into onecal_load_data and onehop_load_data depending on how the data needs to be loaded.
  field_location groups the field data by location (instead of pod) for plotting and analysis
test_train_split holds functions to split the data into test and train sets
  end_test puts the last 20% of temporal data into test
  mid_end_split puts 10% of middle data and 10% of the end data into test
  Start_end_split puts the first 10% of data and the last 10% of data into test
  There are now a LOT more options for test_train_split based on different projects. These can be explored in the code, and new ones can be created following the same format.

## Slide 30: Python_Functions functions
preprocessing_func contains data preprocessing functions
  add_time_elapsed creates a column that is the number of seconds that have passed since the earliest time listed in “start” in the deployment log. This is helpful for accounting for sensor drift!
  Fig2600_2602_ratio adds a column that is the ratio of Fig 2600 to Fig 2602 (maybe helpful for VOC)
  hum_rel_2_abs converts humidity from relative to absolute. THIS IS NOT WORKING WITH NEWER PYTHON VERSIONS AND I HAVEN’T FIXED IT YET
  interaction_terms multiplies each sensor combo
    so with CO, temp, humid sensors, you’ll add CO*temp, CO*humid, and temp*humid columns
  rmv4thofJuly removes July 4th and 5th, which can be helpful for PM calibration to remove huge spikes related to fireworks (not always needed though)

## Slide 31: Python_Functions functions
preprocessing_func contains data preprocessing functions
  rmv_warmup removes the first warm-up period in the data, as well as a warm-up period after each time the pod turns off
    User specifies the warm-up period in the settings
    Python assumes the pod turned off each time the gap between two samples is more than 10 times longer than the average time gap between samples
  temp_C_2_K converts the temperature from Celsius to Kelvin
  See notes on “data weighting” slide for binned_resample and resample_quartile functions
  preprocessing_func contains the function calls of some of the preprocessing steps. This just keeps the main code a little cleaner.
    Not all of the preprocessing steps can be included here because some have to happen after the data has been time averaged. Those are called specifically in the main code in that case

## Slide 32: Python_Functions functions
colo_model_func contains the models that can be used for the colocation pod to reference calibration
  lin_reg is a multi linear regression
  ridge and lasso are regressions with “regularization” to minimize overfitting
  random_forest, gradboost, xg_boost are boosting models
    Adaboost is also in the file but doesn’t work very well (it’s more meant for classification models)
  Ann is an artificial neural network model
  SVR is a support vector regression model
  See note on “data weighting” slide about sigweight and SMOTER models
Models with hyperparameters are tuned using 5-fold cross validation
  What that means: hyperparameters are parameters you pre-set for the model, such as the max depth in a random forest. “Tuning” is when these hyperparameters are optimized to build the best possible model for the data

## Slide 33: Balancing the dataset (usually for peak fitting)
There are a few different options for trying to balance out an imbalanced dataset (usually for the goal of getting the model to fit peaks better). I haven’t used these extensively because I found they led to overfitting, but I left them in for others to explore
Within preprocessing_func (to are implemented by adding to settings[‘preprocess’]):
  binned_resample: resample the data so that there are the same number of data points per "bin" (number of bins set with settings['n_bins’])
  resample_quartile: removes a percentage of values from the reference data in the quartile listed in settings['quartiles_to_resample'] (percentage based on settings['quartiles_downsampling_rate’] )
For both options, you need to set additional settings in the MPC_colocation or MPC_onecal files:
  settings['quartiles_to_resample'] = ['first'] ##which quantiles you want to downsample from if applying 'resample_quartile' in 'preprocess
  settings['quartiles_downsampling_rate'] = 0.5 ## If using 'resample_quartile', choose a downsampling rate between 0-1 (e.g., keeping 70% of instances within the lower quartile)
  settings['n_bins']= 5 ## If using binned_resample, choose how many bins to split the data into.
  settings['binned_resample_binnum_multiplier'] = 2 #The number of samples per bin after resampling is set as 1/n_bins. However, this can be adjusted by mulitiplying 1/n by 'binned_resample_binnum_multiplier' if you don't want to remove so much data

## Slide 34: Data weighting
  Jon Silberstein and I implemented data weighting in some models, which increases the “cost” for fitting certain values (usually the peaks), so that the models prioritize fitting these values.
  See https://amt.copernicus.org/articles/18/3147/2025/ for more information
  Option 1: In the settings[‘model’] list, add ONLY rf_pieceweight, lin_reg_pieceweight, or xgb_pieceweight (depending on if you want random forest (rf), linear regression (lin_reg), or extreme gradient boosting (xgb)). This will create models using the pieceweight weighting scheme described in the paper linked above
    You can only run one at a time
    You need to set the two settings listed below for these models. See paper for more info
      settings['weighting_percentile'] = [75, 85, 95, 99, 99.5, 99.9] #list which percentiles to test for weighting. All data points in that percentile or higher will be weighted higher than those below.
      settings['weighting_weight'] = [0.1] #list what weights to test for a weighted model. All points above the percentile will be given this weight. Those below the percentile will ahve a weight of 1.

## Slide 35: Data weighting
Option 2: There are models listed within colo_model_func with the following name format: {model_type}_sigweight{x}
  Example: xg_boost_sigweight2_5
  Model types are xg_boost, lin_reg, and random_forest.
  The number represents the zscore offset, ranging from 0 (no number listed) to 3. The underscore is really a decimal, so the example above is offset 2.5
  See the paper linked on the previous slide, which explains the sigmoid weighting scheme and offsets.
  You can list as many of these models as you want in the settings['models’] list in the MPC_colocation or MPC_onecal file.

## Slide 36: Python_Functions functions
Plotting_func contains plotting options
  Plots are separated by harmonization, field, and colocation data
  Stats plot shows the R2, RMSE, and MBE
I have the code set to close some plots as the code runs because having a bunch of plots open slows down the code. However, they will be saved as a png in the outputs folder for you to view.

## Slide 37: Outputs folder
This folder starts out empty
When you run MPC_colocation_1hop1cal or MPC_colocation_individual, python will create a new folder named Outputs_[current datetime]. Results from the run will be saved in this new folder
When you run MPC_field_1hop, MPC_field_1cal or MPC_field_individual, python will create a new folder within the colocation output folder (Outputs_[datetime]) that is again named as Outputs_[current datetime].
You can rename these folders however you’d like

## Slide 38: Outputs folder files
In the first output folder (for the colocation step)
  Colocation figures
  Colo_model_stats: R2, RMSE, and MBE
  Colo_X : preprocessed pod data used in colo model
  Colo_X_std: standardized preprocessed pod data used in colo model
  Colo_y_reference: reference data (retimed to match X)
  {model_name}_colo_y_predicted: predicted y from calibrated pod data X
  Run_settings.joblib: python variable that saves the run settings
  {model_name}_model.joblib: python variable that saves the model (coefficients, etc.)
If you are using individual calibration, there will be a separate set of output files (listed above) for each pod, with the pod name specified at the end.
Joblib variables can be loaded into python using joblib.load()
  After you have imported the joblib package

## Slide 39: MPC_colocation
This function calibrates the colocation pod data to the reference data
Packages you need to install before running:
  os
  matplotlib
  pandas
  sklearn
  datetime
  importlib
  joblib
  atmos
  numpy
  xlsxwriter
  tensorflow
  seaborn
  copy

## Slide 40: Building the colocation model

## Slide 41: Python script choice
For a 1-hop or 1-cal calibration, build the colocation model using MPC_colocation_1hop1cal
For an individual calibration, build the colocation model using MPC_colocation_individual

## Slide 42: Settings
You must pre-set the settings at the start of the code. There are notes next to each setting variable to inform you
If you aren’t sure of the options for ‘traintest_split_type’, ‘preprocess’, ‘models’, or ‘colo_plot_list’, you can look in the Python_Functions folder for function options and names.

## Slide 43: Settings[‘column_names’]
In the deployment log, each row represents a .txt file. The column_names variable in the last column of the deployment log specifies which list of column names should be used for that .txt file
  The list will depend on what firmware was used, since the way data is written onto the SD card varies depending on firmware
The settings[‘column_names’] list can contain all the different options for column names.
  You can add more to this list, just give it a name
  In the screenshot, the two options are 3.1.0 and 3.2.0

## Slide 44: Applying the colocation model to field data

## Slide 45: For 1-hop: Use MPC_field_1hop
Harmonizes pod data to the colocation pod using a linear regression between each individual sensor signal
Choose your favorite model from MPC_colocation_1hop1cal, and this code will apply it to field data to get calibrated field data

## Slide 46: For 1-hop: MPC_field_1hop
Variables to adjust in MPC_field_1hop:
hf_set[‘hf_run_name’]: write what you want to save the output folder name as. If you leave it as ‘’, it will use the current datetime as the name
colo_output_folder: list the folder name that you want to pull the MPC_colocation results from
hf_set[‘run_field’]: true if you want to apply calibration to field data. False if not.
hf_set[‘best_model’]: choose the model that you want to apply to your field data, based on the results in the colo_output_folder MPC_colocation run
hf_set[‘k_folds’]: number of folds to split data into. Read about k-fold cross validation if you are unfamiliar with this. Usually, it is 5-10
plot_list is a list of plots (separated by harmonization and field data) that you want python to plot

## Slide 47: For 1-hop: MPC _field_1hop
Variables to adjust in MPC _field_1hop :
hf_set['TElapsed_in_harmon]:
  if you have bookended harmonizations, it's a good idea to add in a time elapsed term to the harmonization models. if you do not have bookended harmonizaitons, adding in time elapsed is probs a bad idea because it will overcorrect.
hf_set['crop_field_time]: set to true if you want to crop the field times that are fit/plotted
hf_set['field_start]: if field_crop_time is True, everything before will be cropped. hf_set['field_end’] : if field_crop_time is True, everything after will be cropped.

## Slide 48: For individual cal: Use MPC_field_individual
Applies the colocation model built for each pod in MPC_colocation_individual to each pod’s field data
You must choose the model type for each pod, instead of one overall model type

## Slide 49: For individual cal: Use MPC_field_individual
hf_set[‘hf_run_name’]: write what you want to save the output folder name as. If you leave it as ‘’, it will use the current datetime as the name
colo_output_folder: list the folder name that you want to pull the MPC_colocation results from
hf_set[‘run_field’]: This should always be true in MPC_field_onecal because otherwise nothing will happen (there is no harmonization step)
hf_set[‘best_model’]: You must update the pod names listed to match your pod network, and then list the desired model for each individual pod.

## Slide 50: For individual: Use MPC_field_individual
hf_set[‘field_plot_list’]: the list of plots that you want python to plot
hf_set['crop_field_time]: set to true if you want to crop the field times that are fit/plotted
hf_set['field_start]: if field_crop_time is True, everything before will be cropped. hf_set['field_end’] : if field_crop_time is True, everything after will be cropped.
*** note that time elapsed is not a harmonization option for universal because we do not have a harmonization step. However, time elapsed can be included in the colocation model

## Slide 51: For 1-cal: Use MPC_field_1cal
Calculates the mean / st.dev of each pod’s harmonization data
Applies the harmonization mean/st.dev of each pod to the field data.
  This “z-scores” the field data to reduce sensor bias. We use the harmonization data to get the mean/st.dev, instead of directly zscoring the field data, to ensure we aren’t removing any actual measurment differences across field sites (we only want to remove actual sensor bias)
  It’s important that all pods cover the same harmonization period so that we don’t introduce bias here
Choose your favorite model from MPC_colocation_1hop1cal for each pod, and that model will be applied to the “zscored” field data.

## Slide 52: For 1-cal: Use MPC_field_1cal
hf_set[‘hf_run_name’]: write what you want to save the output folder name as. If you leave it as ‘’, it will use the current datetime as the name
colo_output_folder: list the folder name that you want to pull the MPC_colocation results from
hf_set[‘run_field’]: true if you want to apply calibration to field data. False if not (you will only get the z score mean/st.dev from the harmonization then)
hf_set[‘best_model’]: choose the model that you want to apply to your field data, based on the results in the colo_output_folder MPC_colocation run

## Slide 53: For 1-cal: Use MPC_field_1cal
Variables to adjust in MPC_field_1cal:
hf_set[‘field_plot_list’]: the list of plots that you want python to plot
hf_set['crop_field_time]: set to true if you want to crop the field times that are fit/plotted
hf_set['field_start]: if field_crop_time is True, everything before will be cropped. hf_set['field_end’] : if field_crop_time is True, everything after will be cropped.
*** note that time elapsed is not a harmonization option for 1-cal because we do not have a harmonization step. However, time elapsed can be included in the colocation model

## Slide 54: A note on sensor zscoring/ scaling
There are slight differences in how the sensors are zscored depending on whether you run a 1-hop, 1-cal, or individual calibration
1-hop: The scaler is set based on the colocation pod’s colocation data. After harmonizing all of the pods, the harmonized field data is scaled using the colocation pod scaler values (as in the mean/ standard deviation of the colocation data)
Individual: Each pod has a unique scaler that is set using the pod’s colocation data and applied to the field data
1-cal: Each pod has a unique scaler that is set using the pod’s harmonization data and applied to the field data. It is important that the pods all have the same time period for harmonization data! We are trying to remove sensor bias without removing actual field site differences (which would happen if you set the scaler for each pod using the field data)